## Slide 1: Nonlinear Optimal Tracking Control of Wind Energy Conversion System in Partial Load Region
Sudipta Paul Graduate Teaching Assistant Department of Electrical Engineering University of Minnesota Duluth | D. Subbaram Naidu, Fellow IEEE Minnesota Power Jack F. Rowe Endowed Chair Professor, Department of Electrical Engineering University of Minnesota Duluth

## Slide 2: Paper Goal and Contribution
Presents a complete sixth-order nonlinear model of a PMSG based variable speed variable pitch wind energy conversion system (VSVP-WECS).
Presents a State Dependent Differential Riccati Equation (SD-DRE) control technique for closed-loop, finite horizon (FH) tracking of nonlinear systems.
Validates the finite horizon SDRE tracking for PMSG based WECS in partial load region.

## Slide 3: Wind Turbine Operating Regions
A wind turbine has three main operating regions.
Region 1: The wind speed is below the cut-in speed, and the power generation is halted.
Region 2: The turbine operates at partial load below the rated power.
Region 3: Power generation reaches its maximum value and stays there.
When the wind speed exceeds the cut-out speed, the turbine shuts off.

## Slide 4: Partial Load Operation
Goal: Maximize the energy efficiency by keeping the power coefficient at its maximum value.
Pitch angle and the tip speed ratio (TSR) should operate at their optimal values
For optimal TSR, the wind rotor speed should be controlled in such a way that it tracks an optimal reference speed

## Slide 5: WECS Modeling
Maximum power coefficient : 0.47
Optimal TSR : 8.1
Optimal Pitch angle: 0 deg
Power coefficient as a function of tip speed ratio for different blade pitch angle

## Slide 6: WECS Modeling
ωr – wind rotor speed
ωg – generator speed
Tg – Generator torque
TH – Internal torque
i – Gearbox ratio
η – Gearbox efficiency
Jr – Wind rotor inertia
Tr – Aerodynamic torque
Jg – Generator inertia
Kg – High speed shaft stiffness coefficient
Bg – High speed shaft damping coefficient
β – Pitch angle of the blade
Βd – Desired pitch angle
id, ud – d axis current and voltage
iq, uq– q axis current and voltage
Rs – Resistance of the stator
Ld, Lq – d and q axis inductance
p – number of poles
Фm – PMSG flux linkage
R – wind rotor plane radius
C0–C7 – Polynomial coefficients

## Slide 7: WECS Modeling
Flexible Drive train dynamic model
Pitch actuator dynamics

## Slide 8: WECS Modeling
PMSG dynamic model in (d,q) axes

## Slide 9: FH-SDRE Tracking Controller
Given a nonlinear system
State-Dependent Coefficient (SDC) Form
Finite horizon cost function

## Slide 10: FH-SDRE Tracking Controller
State feedback control law
Differential Riccati Equation (DRE)
with final condition,
Vector differential equation (VDE)
with final condition,
SD-DRE controlled trajectory

## Slide 11: FH-SDRE Tracking Controller
Algorithmic steps for solving P(x,t)
Step-1: Solve ARE to find PSS(x)
Step-2: Use change of variable to get
Step-4: Solve algebraic Lyapunov equation for D
Step-3: Calculate Acl(x)

## Slide 12: FH-SDRE Tracking Controller
Algorithmic steps for solving P(x,t)
Step-5: Solve DLE
The solution is found as
Step-6: Obtain P(x,t) as

## Slide 13: FH-SDRE Tracking Controller
Algorithmic steps for solving g(x,t)
Step-1: Solve VAE to find gSS(x)
Step-2: Use change of variable to get
Step-3: Solve differential equation
The solution is found as

## Slide 14: FH-SDRE Tracking Controller
Step-4: Obtain g(x,t) as
State feedback optimal control law

## Slide 15: FH-SDRE Tracking Controller
At t=t0 , X = X0
The system A(x), B(x), C(x)
Solve VDE
g(x,t)
Solve DRE
P(x,t)
Find optimal control, u(x,t)
t<tf
Stop
t = t + ∆t
Solve ARE
Apply change of variable
Solve ALE
Solve DLE
Find P(x,t)
PSS(x)
K(x,t)
Acl , D
Solve K(x,t)
Solve VAE
Apply change of variable
Solve DE
Find g(x,t)
gSS(x)
Kg(x,t)
Solve Kg(x,t)

## Slide 16: Simulations & Results
The nonlinear system of the form
The nonlinear model of PMSG-WECS

## Slide 17: Simulations & Results
SDC representation
State vector of VSVP-WECS
And, control vector

## Slide 18: Simulations & Results
For a given wind speed V, and blade radius R, the reference rotor speed for tracking performance is found as

## Slide 19: Simulations & Results
Reference wind speed
Wind turbine rotor speed tracking via finite horizon SDRE

## Slide 20: Simulations & Results
Wind turbine rotor speed tracking error
Nonlinear optimal controller via FH SDRE

## Slide 21: Simulations & Results
Tip speed ratio throughout the partial load region
Pitch angle throughout the partial load region
Power coefficient throughout the partial load region

## Slide 22: Conclusion
FH optimal tracking controller via SDRE technique is presented for a variable speed WECS with PMSG at partial load region.
The main purpose of the control strategy is to track the reference rotor speed and maintain the maximum power coefficient throughout the Region 2.
Optimal control for tracking reference rotor speed is found in terms of the solution of SD-DRE and SD-VDE.
Simulation results validates the effectiveness of the FH SDRE tracking controller for PMSG based WECS.